## Operator Form
Part 1 - Technical System Audit Form
Monitoring Site Location:
IMPROVE Site ID:
Latitude/Longitude from IMPROVE Website |  |  |  | Lat.: |  |  | Long:
Assessor Name: |  |  | Derek Day |  | Affiliation | CIRA/CSU
Observer(s) Name: |  |  |  |  | Affiliation
Assessment Date:
Section 1. Organization and Responsibilities
1. UCDavis Field Operations Manager
| Name: | Yongjing Zhao |  | Affiliation: | UC Davis
| Phone: | 530-752-1123
| Address: | One Shields Avenue
Davis, CA
| E-mail: | yjzhao@ucdavis.edu
2. Monitoring Site Operator(s)
| Name: |  |  | Affiliation:
Phone:
Address:
Cell Phone:
E-mail:
| Name: |  |  | Affiliation:
Phone:
Address:
Cell Phone:
E-mail:
3. Date UC Davis field service technicians last visited the site for maintenace/calibrations:
(O = Other)
RESPONSE
[7 empty] | Y | N | O
4. Were site operators able to meet with UCDavis technicians during the site visit?
5. Are site operators familiar with SOP 201 "IMPROVE Standard Operating Procedure for Sampler Maitenance
by site operators"?
6. Are site operators aware of resoucres intended to inform them about sampler operation?
| http://vista.cira.colostate.edu/Improve/ |  |  | General Inforation
| http://vista.cira.colostate.edu/Improve/particulate-monitoring-network/ |  |  |  |  | SOPs
| https://aqrc.ucdavis.edu/resources-for-operators |  |  |  | helpful videos
7. Do operators have any issues they would like to address or concerns about local activities which might
affect sampling?
8. How long have you served as the IMPROVE sampler operator?

## Field Form I
IMPROVE | [5 empty] | US Environmental Protection Agency
Interagency Monitoring of Protected Visual Environments | [5 empty] | Office of Air and Radiation
Performance Audit Worksheet VER 2.10; 2/20/2017
| DATE: | 0 |  |  | IMPROVE Website |  | GPS Reading
| LOCATION: | [7 empty] | Difference
| SITE ID: | 0 |  | LAT: | 0 |  |  |  | 9e-05
|  |  |  | LONG: | 0 |  |  |  | 6e-05
ELEV:
GENERAL INFORMATION
AUDITOR INFO | [5 empty] | **FIRST REFERENCE DEVICE
| PRIMARY: | [5 empty] | MAKE/MODEL: | TetraCal
| AFFILIATION: | [5 empty] | S/N: | 786
| SECONDARY: | [5 empty] | Certif. Due Date: | 2019-08-29
| AFFILIATION: |  |  |  |  | BACK-UP REFERENCE DEVICE
| OBSERVER: | [5 empty] | MAKE/MODEL: | TetraCal
| AFFILIATION: | [5 empty] | S/N: | 149652
[7 empty] | Certif. Due Date: | 2019-02-01
SITE OPERATOR INFO | [5 empty] | ALTERNATE FIRST REFERENCE DEVICE
| PRIMARY: | [5 empty] | MAKE/MODEL:
| AFFILIATION: | [5 empty] | S/N:
| SECONDARY: | [5 empty] | Certif. Due Date:
| AFFILIATION: |  |  |  |  | ALTERNATE REFERENCE DEVICE
MAKE/MODEL:
AUDIT FILTER | [6 empty] | S/N:
DATE: | [6 empty] | Certif. Due Date:
POS:
FINDINGS
8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
SITE INFORMATION
SITE CALIBRATION COEFFICIENTS
MODULE | TYPE | ELEV | CALIB | MAG COEFFICIENTS |  | NOM | VAC COEFFICIENTS |  | NOM
|  | ( f ) | DATE | A | B | (in WC) | C | D | (PSI)
A
B
C
D
X ( A-B-C )
X ( D )
CONTROLLER
|  | PRESSURE |  | AUDIT
(mm Hg)
First Ref Std:
Back-up Ref Std:
TEMPERATURE AUDIT
| TEMPERATURE |  | AUDIT |  | IMPROVE |  | DIFF | PASS | FAIL
|  |  | (Celsius) |  | (Celsius) |  | (Celsius) | (10 degrees or less?)
First Ref Std:
Back-up Ref Std:
RECALIBRATION:
CLOCK AUDIT
|  | TIME |  | AUDIT | IMPROVE |  | DIFF | PASS | FAIL
|  |  |  | (hh:mm) | (hh:mm) |  | (min) | (5 minutes or less?)
CELL PHONE:
RECALIBRATION:
MODULE A
LEAK CHECK AUDIT
| Leak Check |  | MaxORI | READING |  |  |  | PASS | FAIL
|  |  |  | (PSI) |  |  |  | (3.5 PSI or higher?)
DISPLAY:
FLOW AUDIT
|  | REFERENCE FLOW |  | MODULE | DESIGN |  | DIFF | PASS | FAIL
|  | STANDARD |  | (lpm) | (lpm) |  |  | (10% or less?)
|  |  | First Ref Std: |  | 22.8
|  |  | Back-up Ref Std: |  | 22.8
MAGNEHELIC CALIBRATION AUDIT
|  |  | CYC | READING | FLOW |  | DIFF | PASS | FAIL
|  |  |  | (in WC) | (lpm) |  |  | (10% or less?)
DISPLAY:
DISPLAY if Back-up used:
MODULE B
LEAK CHECK AUDIT
| Leak Check |  | MaxORI | READING |  |  |  | PASS | FAIL
|  |  |  | (PSI) |  |  |  | (3.5 PSI or higher?)
DISPLAY:
FLOW AUDIT
|  | REFERENCE FLOW |  | MODULE | DESIGN |  | DIFF | PASS | FAIL
|  | STANDARD |  | (lpm) | (lpm) |  |  | (10% or less?)
|  |  | First Ref Std: |  | 22.8
|  |  | Back-up Ref Std: |  | 22.8
MAGNEHELIC CALIBRATION AUDIT
|  |  | CYC | READING | FLOW |  | DIFF | PASS | FAIL
|  |  |  | (in WC) | (lpm) |  |  | (10% or less?)
DISPLAY:
DISPLAY if Back-up used:
MODULE C
LEAK CHECK AUDIT
| Leak Check |  | MaxORI | READING |  |  |  | PASS | FAIL
|  |  |  | (PSI) |  |  |  | (3.5 PSI or higher?)
DISPLAY:
FLOW AUDIT
|  | REFERENCE FLOW |  | MODULE | DESIGN |  | DIFF | PASS | FAIL
|  | STANDARD |  | (lpm) | (lpm) |  |  | (10% or less?)
|  |  | First Ref Std: |  | 22.8
|  |  | Back-up Ref Std: |  | 22.8
MAGNEHELIC CALIBRATION AUDIT
|  |  | CYC | READING | FLOW |  | DIFF | PASS | FAIL
|  |  |  | (in WC) | (lpm) |  |  | (10% or less?)
DISPLAY:
DISPLAY if Back-up used:
MODULE D
LEAK CHECK AUDIT
| Leak Check |  | MaxORI | READING |  |  |  | PASS | FAIL
|  |  |  | (PSI) |  |  |  | (3.5 PSI or higher?)
DISPLAY:
FLOW AUDIT
|  | REFERENCE FLOW |  | MODULE | DESIGN |  | DIFF | PASS | FAIL
|  | STANDARD |  | (lpm) | (lpm) |  |  | (10% or less?)
|  |  | First Ref Std: |  | 16.9
|  |  | Back-up Ref Std: |  | 16.9
VACUUM CALIBRATION AUDIT
|  |  | ORI | READING | FLOW |  | DIFF | PASS | FAIL
|  |  |  | (PSI) | (lpm) |  |  | (10% or less?)
DISPLAY:
DISPLAY if Back-up used:
MODULE X (A-B-C TYPE)
LEAK CHECK AUDIT
| Leak Check |  | MaxORI | READING |  |  |  | PASS | FAIL
|  |  |  | (PSI) |  |  |  | (3.5 PSI or higher?)
DISPLAY:
FLOW AUDIT
|  | REFERENCE FLOW |  | MODULE | DESIGN |  | DIFF | PASS | FAIL
|  | STANDARD |  | (lpm) | (lpm) |  |  | (10% or less?)
|  |  | First Ref Std: |  | 22.8
|  |  | Back-up Ref Std: |  | 22.8
MAGNEHELIC CALIBRATION AUDIT
|  |  | CYC | READING | FLOW |  | DIFF | PASS | FAIL
|  |  |  | (in WC) | (lpm) |  |  | (10% or less?)
DISPLAY:
DISPLAY if Back-up used:
MODULE X (D TYPE)
LEAK CHECK AUDIT
| Leak Check |  | MaxORI | READING |  |  |  | PASS | FAIL
|  |  |  | (PSI) |  |  |  | (3.5 PSI or higher?)
DISPLAY:
FLOW AUDIT
|  | REFERENCE FLOW |  | MODULE | DESIGN |  | DIFF | PASS | FAIL
|  | STANDARD |  | (lpm) | (lpm) |  |  | (10% or less?)
|  |  | First Ref Std: |  | 16.9
|  |  | Back-up Ref Std: |  | 16.9
VACUUM CALIBRATION AUDIT
|  |  | ORI | READING | FLOW |  | DIFF | PASS | FAIL
|  |  |  | (PSI) | (lpm) |  |  | (10% or less?)
DISPLAY:
DISPLAY if Back-up used:
Significant Findings:
General Findings:

## Field Form II
Section 2. Sample Handling
(O = Other)
RESPONSE
|  | Y | N | O
1. | Are all samples handled to avoid contamination and/or loss of material?
2. | Observe the following handling steps for routine samples, verifying that the operator follows the sample handling
SOPs correctly:
a. | Inspection of sample prior to sampling
b. | Installation of sample in the sampler
c. | Retrieval from the sampler after sampling
d. | Completion of log sheet
3. | How do you communicate sample handling problems and to whom?
Section 3. Monitoring Site
(O = Other)
RESPONSE
|  | Y | N | O
4. | Does the operator keep the module handling area neat and clean?
5. | Is there adequate room to perform the needed operations?
6. | Does the sampler appear to be well maintained and free of dirt and debris, bird/animal/insect
nests, excessive rust and corrosion, etc.?
7. | Is the shelter platform (if any) clean and in good repair?
Section 4. Electricity
(O = Other)
RESPONSE
|  | Y | N | O
8. | Are there any obvious problems with electricity?

## Summary Form
| TIME |  | TEMP |  | A MODULE |  |  | B MODULE |  |  | C MODULE |  |  | D MODULE
DATE | AUDIT | IMPROVE | AUDIT | IMPROVE | AUDIT | ORI | CYC | AUDIT | ORI | CYC | AUDIT | ORI | CYC | AUDIT | ORI
0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0